## Slide 1
Deep Learning with Medical Images
Intervertebral Disc Segmentation at T2 MRI
Presenter : Bae Jun Ho Department of Industrial Information System, SEOULTECH ghost9023@seoultech.ac.kr

## Slide 2
1. Introduce Medical Image and Image Segmentation
2. Project Purpose
3. Methodology : Neural Network and Training Configuration
CONTENTS
4. Result Analysis

## Slide 3
1. Introduce
Medical Image
and
Image Segmentation

## Slide 4
1. Introduce Medical Image and Image Segmentation
4
1. What Is Medical Image
X-ray
MRI(Magnetic Resonance Image)
CT(Computed Tomography)
US(Ultrasound)
Endoscope
Radioactive

## Slide 5
1. Introduce Medical Image and Image Segmentation
5
Non Radioactive
1. What Is Medical Image
X-ray
MRI(Magnetic Resonance Image)
CT(Computed Tomography)
US(Ultrasound)
Endoscope

## Slide 6
1. Introduce Medical Image and Image Segmentation
6
Special standard format of medical image
- DICOM(Digital Imaging and Communications in Medicine)
- NIfTI(Neuroimaging Informatics Technology Initiative)
1. What Is Medical Image

## Slide 7
1. Introduce Medical Image and Image Segmentation
7
2. What Deep Learning Can Do with Medical Image
Build Algorithms to work like doctor
- Radiologist
- Specialist for each body part
- Specialist for some disease
- Robo-advising for surgery
- Discover new treatments (Research)

## Slide 8
1. Introduce Medical Image and Image Segmentation
8
A deep learning algorithms may automate intracranial aneurysm detection on MR angiography
with high diagnostic performance; 2020 European Radiology, Joo, Ahn, Bae
2. What Deep Learning Can Do with Medical Image
Build Algorithms to work like doctor
- Radiologist
- Specialist for each body part
- Specialist for some disease
- Robo-advising for surgery
- Discover new treatments (Research)

## Slide 9
9
Ref. Guo et al. 2016
1. Introduce Medical Image and Image Segmentation
3. What is Image Segmentation

## Slide 10
1. Introduce Medical Image and Image Segmentation
10
Classification
Normal (0)
or
Pneumonia (1)
Normal (0)
or
Pneumonia (1)
Input
Label
Output
3. What is Image Segmentation

## Slide 11
1. Introduce Medical Image and Image Segmentation
11
Segmentation
Input
Label
Output
3. What is Image Segmentation

## Slide 12
1. Introduce Medical Image and Image Segmentation
12
Segmentaion is "Pixelwise Classification"
0
0
0
0
1
1
1
1
0
0
0
0
3. What is Image Segmentation

## Slide 13
1. Introduce Medical Image and Image Segmentation
13
0.01241
0.1 0.2 ...
0.6 0.7. 0.2 0.3
0.5 0.9 0.8
3. What is Image Segmentation
Probability of Class

## Slide 14
1. Introduce Medical Image and Image Segmentation
14
0.01241
0.1 0.2 ...
0.6 0.7. 0.2 0.3
0.5 0.9 0.8
3. What is Image Segmentation
Probability of
Each Pixel's Class

## Slide 15
2. Project Purpose

## Slide 16
2. Project Purpose
16
1. Project Purpose
Try Image Segmentation at medical image with Deep Learning
(Intervertebral Disc Segmentation)
To compare famous segmentation neural networks (Unet, Deeplab V3+, Custom build network)
To compare neural network parameters
(Comparing performance to change activation function, network size, learning rate, optimizer)

## Slide 17
17
2. Dataset Introduction
MRI T2 Sequence Sagittal Plane Images
Various Spine (C-spine, L-spine, T-spine)
Various Sequence (DIXON, Enhanced, TSE, qTSE)
Collected from HIRA(Health Insurance Review & Assessment Service)
2. Project Purpose

## Slide 18
18
Total 997 Patient Case, Around 14000 slice images
Labeled by Radiologist
Input data : DICOM file converted to PNG file
Label data : NIfTI file converted to PNG file
2. Dataset Introduction
2. Project Purpose

## Slide 19
19
Sample of Input data and Label data
2. Dataset Introduction
2. Project Purpose

## Slide 20
20
3. Project Programming Environment
Python 3.6, Tensorflow 2.1.0(with Keras), Opencv 3.4.2 with Anaconda 3
Nvidia GTX 2080Ti 4ea, GTX 1080 2ea, RTX Titan 1ea used
2. Project Purpose
* All Codes are Available at github : https://github.com/adp-study/tp

## Slide 21
3. Methodology :
Neural Network
and
Training Configuration

## Slide 22
22
1. Network Architecture
U-Net: Convolutional Networks for Biomedical Image Segmentation; Ronneberger, Fishcer, Brox
3. Methodology : Neural Network and Training Configuration
UNet

## Slide 23
23
1. Network Architecture
Rethinking Atrous Convolution for Semantic Image Segmentation; Chen, Papandreou, Schroff, Adam
3. Methodology : Neural Network and Training Configuration
DeepLab V3+

## Slide 24
24
1. Network Architecture
Deep Residual Learning for Image Recognition; He, Zhang, Ren, Sun
3. Methodology : Neural Network and Training Configuration
Residual Block of ResNet

## Slide 25
25
1. Network Architecture
Squeeze-and-Excitation Networks; Hu, Shen, Albanie, Sun, Wu
3. Methodology : Neural Network and Training Configuration
SE Block of SENet

## Slide 26
26
1. Network Architecture
3. Methodology : Neural Network and Training Configuration
SE Block
SE Block
SE Block
SE Block(Squeeze-Excitation Block)
Residual-SE Block
Global Average Pooling + Dense(channel reduce, relu) + Dense(channel recover, sigmoid) with Identity

## Slide 27
27
1. Network Architecture
3. Methodology : Neural Network and Training Configuration
Upsampling Block
3x3 Conv with
Batch Normalization
Concatenate
Transpose Conv

## Slide 28
28
1. Network Architecture
3. Methodology : Neural Network and Training Configuration
2 Conv + Output
Downsample
Upsample
Skip Connection
Residual-SE UNet

## Slide 29
29
2. Network Configuration
3. Methodology : Neural Network and Training Configuration
- Activation Function : ReLU, ELU, SELU, Swish, Mish tested
- Initial Channel Size : 4, 8, 16 tested. (Above 16, OOM occurred)
- Batch Size : 4, 8, 16 tested. (Above 16, OOM occurred)
ReLU
ELU
SELU
Swish
Mish
Mish: A Self Regularized Non-Monotonic Neural Activation Function; Misra
SEARCHING FOR ACTIVATION FUNCTIONS; Ramachandran, Zoph, V. Le
SNDCNN: SELF-NORMALIZING DEEP CNNs WITH SCALED EXPONENTIAL LINEAR UNITS FOR SPEECH RECOGNITION; Huang, Ng, Liu, Mason, Zhuang, Liu

## Slide 30
30
3. Training Configuration
3. Methodology : Neural Network and Training Configuration
- Loss Function : Dice Loss
- Optimizer : RMSProp, Adam, NAdam tested
- Learning rate : 1e-3, 1e-4, 1e-5 tested
- Epoch : 50, 100, 200 tested
- Image Size : (128, 128), (192, 192), (256, 256) tested
- Network : Base Unet, Base Deeplab V3+, Custom model tested

## Slide 31
31
4. Performance Measurement
3. Methodology : Neural Network and Training Configuration
- Validation Loss
- Dice Coeifficient Score(DSC) (Also used for loss function)

## Slide 32
4. Result Analysis

## Slide 33
33
1. Training Result
4. Result Analysis
Network | Parameter Setting | mean DSC for target class
Base Unet | Input size : (128, 128), Initial Channel size 8, ReLU, 100 Epochs, NAdam with lr 1e-5 | 0.682
 | Input size : (192, 192), Initial Channel size 16, ReLU, 100 Epochs, NAdam with lr 1e-5 | 0.703
 | Input size : (256, 256), Initial Channel size 16, ReLU, 100 Epochs, RMSprop with lr 1e-4 | 0.712
Deeplab V3 + | Input size : (128, 128), Initial Channel size 8, ReLU, 100 Epochs, NAdam with lr 1e-5 | 0.646
 | Input size : (256, 256), Initial Channel size 4, ReLU, 100 Epochs, NAdam with lr 1e-5 | 0.663
Custom (Residual-SE Unet) | Input size : (256, 256), Initial Channel size 8, ReLU, 50 Epochs, NAdam with lr 1e-4 | 0.889
 | Input size : (256, 256), Initial Channel size 16, ReLU, 200 Epochs, NAdam with lr 1e-5 | 0.906
 | Input size : (256, 256), Initial Channel size 8, SELU, 200 Epochs, NAdam with lr 1e-4 | 0.742
 | Input size : (256, 256), Initial Channel size 16, SELU, 200 Epochs, NAdam with lr 1e-4 | 0.766
 | Input size : (256, 256), Initial Channel size 8, ELU, 200 Epochs, NAdam with lr 1e-4 | 0.754
 | Input size : (256, 256), Initial Channel size 8, Swish, 200 Epochs, NAdam with lr 1e-4 | 0.740
 | Input size : (256, 256), Initial Channel size 8, Mish, 200 Epochs, NAdam with lr 1e-4 | 0.738

## Slide 34
34
2. Loss Graph
4. Result Analysis

## Slide 35
35
3. DSC graph
4. Result Analysis

## Slide 36
36
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 37
37
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 38
38
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 39
39
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 40
40
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 41
41
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 42
42
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 43
43
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 44
44
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 45
45
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 46
46
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 47
47
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 48
48
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 49
49
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 50
50
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 51
51
4. Result Sample
4. Result Analysis
Ground Truth
Unet
Res-SE-Unet 30 Epoch
Res-SE-Unet 116 Epoch

## Slide 52
&A
Q

## Slide 53
Thank You
* All Codes are Available at github : https://github.com/adp-study/tp